## Slide 1: OST MISC/TRA estimated performance v3
Taro Matsuo
Aug. 30th 2018

## Slide 2: Optical design
The OST MISC transit spectrograph was successfully updated as follows;
The observing wavelength ranges from 2.8 to 20µm
The number of the detector samplings are optimized because of the higher dark current of MCT detector and smaller diameter:
- The number of samplings for each spectral element is 135 pixels for short, 270 pixels for middle and 340 pixels for long band.
The higher throughput over the entire wavelength range is provided.

## Slide 3: Updated optical design
Generated by Yamamuro-san
Additional field stop is added for reduction of
Additional field stop is added.

## Slide 4: Throughput
Wavelength (µm)
Throughput
Band 1
Band 2
Band 3
 | Band 1 | Band 2 | Band 3
wavelength [µm] | 2.8-5.5 | 5.5-10.5 | 11-20
Telescope (x4) | 0.97 | 0.98 | 0.98
Relay mirror (x6) | 0.96 | 0.96 | 0.96
Densified pupil spectrograph (x 7) | 0.96 | 0.96 | 0.96
Dichroich mirror 1 | 0.8 | 0.8 | 0.9
Dichroich mirror 2 | 0.8 | 0.9 | 1
Grating at peak | 1 | 1 | 1
AR coat lens | 0.94 | 0.94 | 0.66
detector quantum efficiency | 0.88 | 0.78 | 0.7
Contamination/slit loss | 0.9 | 0.9 | 0.9
For more information, please refer to Appendix.

## Slide 5: Zodiacal light
A+B model was applied for calculation.
The field of view was tentatively set to 2.5” and additional field stop with radius of 1.5”is added to the long channel.
Glasse et al. PASP 2015
A: Scattered component
B: Emissive component
Wavelength (µm) | Background (MJy/steradian)
3 | 0.1
5 | 0.35
6 | 1
8 | 3
10 | 8.5
11 | 11
14 | 14
20 | 17
* The background at 3µm was derived from extrapolation.

## Slide 6: Spectrophotometric accuracy
Wavelength (µm)
Photometric variance
Blue dot: light of 0.0015µm (monochromatic light)
Orange dot: light of bandwidth of R~100 (chromatic light)
Lambda = 3µm
σ
3µm simulation image (from James Corsetti)
+ 9 mas jitter
Calculating photometric variance as monochromatic light
Imitating chromatic light and evaluating its photometric variation
Deriving spectrophotometric accuracy of chromatic light from standard deviation, σ.

## Slide 7: Parameters
Wavelength | # of transits | Spectral resolution | Dark current | Field stop radius
3µm | 84 | 50 | 1.0 e-/s | 2.5”
5µm | 84 | 50 | 1.0 e-/s | 2.5”
8µm | 84 | 50 | 1.0 e-/s | 2.5”
10µm | 84 | 50 | 1.0 e-/s | 2.5”
14µm | 84 | 206 (stellar activity mode) 20 (SED measurement) | 0.2 e-/s | 1.5”
20µm | 84 | 295 (stellar activity) 20 (SED measurement) | 0.2 e-/s | 1.5”

## Slide 8: OST MISC/TRA noise performance at 3µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=52
5ppm

## Slide 9: OST MISC/TRA noise performance at 5µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=52
5ppm

## Slide 10: OST MISC/TRA noise performance at 8µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=52
<1 ppm
5ppm

## Slide 11: OST MISC/TRA noise performance at 10µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=52
5ppm

## Slide 12: OST MISC/TRA noise performance at 14µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=206
Stellar activity monitor
5ppm

## Slide 13: OST MISC/TRA noise performance at 14µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=20
SED measurement
5ppm

## Slide 14: OST MISC/TRA noise performance at 20µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=295
Stellar activity monitor
5ppm

## Slide 15: OST MISC/TRA noise performance at 20µm
* The results do not strongly depend on the spectral type of a host star.
K magnitude
Stability [ppm]
K (mag) | M8 (pc) | M5 (pc) | M1 (pc)
6 | 1.3 | 2.7 | 7.8
7 | 2.1 | 4.2 | 12.4
8 | 3.3 | 6.7 | 19.6
9 | 5.2 | 10.6 | 30.9
10 | 8.2 | 16.8 | 48.9
11 | 13.0 | 26.5 | 77.3
12 | 20.5 | 41.9 | 122.2
13 | 32.4 | 66.2 | 193.2
14 | 51.3 | 104.7 | 305.5
15 | 81.0 | 165.5 | 483
84 transits
R=20
SED measurement
5ppm

## Slide 16: Appendix

## Slide 17: Calculation of efficiency for OST MISC concept 2 v2
Taro Matsuo
July 23, 2018

## Slide 18: Configuration of OST Concept 2
Telescope
Four gold mirrors
Relay optical systems
Seven gold mirrors
Densified pupil system
Four gold mirrors
Dichroic mirrors
Transmission
grating
Spectrograph
Three gold mirrors
Four or three
AR-coated lens
Detector
Notes: Lens broken,,,
Two aspheric lenses -> measurement and
-> mount for lenses.
Beam alignment, toward flight.

## Slide 19: Gold mirror
Two types of gold mirrors are considered.
The reflectivity was set to:
for protected gold mirror, 0.985 in shortest channel, 0.988 in middle one, 0.990 in longer one.
for bare gold mirror, 0.994 in all channels
Edmund optics
Rocky Mountain Instrument
Notes: Dust coverage, cleanes
What’s the requirement?
Organic,
By the end of the flight. ->
L2 ( reference from JWST); SPIE paper;

## Slide 20: Two Configurations for dichroic mirror
Configuration 1 (Current)
2.8-20µm
2.8-5.5 µm
5.5-10.5µm
10.5-20 µm
Configuration 2 (Current)
2.8-20µm
10.5-20 µm
5.5-10.5µm
2.8-5.5 µm

## Slide 21: Dichroic mirror
I asked about the performances of two dichroic mirrors used for the OST concept 1 (6-25µm) to MATERION;
the material is KRS-5
the following reflectivity and transmissivity are expected and developments are necessary
the reflectivity is probably higher than 90 % over the whole wavelength range.
the transmissivity is probably higher than 80 % for 6- 14µm and 70% for 14-25µm.
In this calculation, the reflectivity was set to 90% for the three channels and the transmissivity was set to 80% for the shortest and middle channels and 70% for the lonest one.

## Slide 22: Relative grating efficiency
Blaze wavelength:
4000nm for channel 1
7800nm for channel 2
15000nm for channel 3
The peak of the efficiency was set to 0.8 for all channels.
Wavelength (nm)
Relative Efficiency

## Slide 23: Grism Efficiency
KRS-5 for Subaru/MOIRCS (Tokoku et al. 2007)
Ge grism for LBT/LMIRCam (Kuzumenko et al. 2012)
Si Grism for JWST (Deen et al. 2016)

## Slide 24: AR coat
AR coat is commonly used for the wavelength shorter than 12µm.
There are several companies that provide AR coat with 95% transmissivity.
In this simulation, transmissivity of each lens was set to 98% for the shortest and middle channels and 90% for the longest channel.
Wavelength (µm)
Transmission curve of Ge lens used for testbed
Wide anti-reflection coating for optical window

## Slide 25: Detector responsivity
McMurty et al. 2013
5.5µm cut HgCdTe detector (Rauscher et al. 2018)
5.5µm- and 10.5µm-cut HgCdTe detectors can be used for the shortest and middle channels.
The detector responsivities were set to 0.88 and 0.78 for the shortest and middle channels.
Notes: CdZnSe -> n ~ index,

## Slide 26: Detector responsivity (longest channel)
Si:As detector with 16µm AR-coated window was referred as the responsivity.
The detector responsivity for the longest wavelength was set to 70%.
Rieke et al. 2015